Mars Express Bistatic Radar Experiment

Operations Plan and Report

08 April 2012
Summary

=======

      DSN Antenna:                                                      63
      Orbit:                                                         10536
      Orbit Start Time:                                2012-04-08T14:47:58
      HGA Pointing:                                               Specular

                                             Start   Ascend EQX      End

                                           --------  ----------   --------

      Specular Condition (ERT):               17:25       18:33      18:47
      Target Latitude (deg N):                -2.77       -0.52      36.17
             Longitude (deg E):              113.09      222.67     211.87
             Rp (km):                         3394.       3394.      3394.
      Incidence/Reflection Angle (deg):       60.24       71.71      55.45
      Slant Range (km):                       6045.       1226.      2223.
      Slew Angle (deg):                       59.52       36.59      69.11
      Doppler (carrier, fd; Hz):             -9130.      37849.     31158.
      Doppler (echo, fr; Hz):                29877.      16513.    -22291.
      Doppler Difference (fdd; Hz):         -39007       21336.     53449.
      Earth-Mars Distance (m):            1.179E+11   1.179E+11  1.179E+11

Experiment Set Up

=================

This experiment was conducted using the Madrid DSS 63.  Danny Kahan and Gene Goltz were in the Radio Science Support Area (RSSA) at JPL.  Dick Simpson monitored by telephone from Stanford.

Performance Problems and Notes

==============================

The ADC levels were not as expected during the pre-cal; similar problems were noted in the pre-cal for the experiment on 2012/045, but there was no problem with the data.  Simpson and Kahan discussed whether to report the problems to maintenance, but no action was taken so far as this BSR was concerned.

The X-RCP carrier appeared to be clipping intermittently after X-Band telemetry was turned off.  As with the experiment on 2012/045, the XR FGAIN was increased to 70 dB; but the FGAIN was reset to 65 after the slew to the BSR attitude began.  The XR FGAIN was set to 70 when the spacecraft came back to Earth-point (19:04-19:12), but was returned to 65 for the post-cal.

Echoes, sometimes strong, were seen on all four receiver channels during the course of the observations.

Data Acquisition

================

RSRs were configured as in Table 1.  
                           Table 1

    -----------------------------------------------------

     RSR   Channel Mode  ATT FGAIN        Operator

                               dB          

    ------ ------- ---- ---- ----- ----------------------

    RSR1A   S-LCP   1-W auto   60      UNK

    RSR1B   X-LCP   1-W auto   60      UNK

    RSR2A   S-RCP   1-W auto   60      UNK

    RSR2B   X-RCP   1-W auto 65-70     UNK

RSR subchannels (SCHAN) were defined as follows:

                                       Table 2

     ----------------------------------------------------------------------

     Subchannel  Sample Rate  Comments

     ----------  -----------  ---------------------------------------------

          1          2 ksps   Occultation bandwidth (not recorded for BSR)

          2          8 ksps   Occultation backup (not recorded for BSR)

          3         25 ksps   Primary recording bandwidth

          4        100 ksps   Backup recording

Table 3 lists ADC amplitude levels read from RSR displays during the experiment.  Times are in UTC and should be considered approximate.  Steps are as defined in the briefing message.  RSR ATT settings are in units proportional to dB.  Acronyms and abbreviations are explained after Table 3.

                                      Table 3

-----------------------------------------------------------------------------

Activity  Time   Step #  S-LCP  X-LCP  S-RCP  X-RCP  Notes / Comments

2012/099                 RSR1A  RSR1B  RSR2A  RSR2B

-------- ----- --------- -----  -----  -----  -----  ------------------------

Set-Up   14:10   FGAIN      60     60     60     65  FGAIN settings (dB)

Pre-Cal  14:42     1     -11.2  -19.2  -18.3  -14.4  ADC voltage levels (dB)

                                                     All to sky
         14:49  att auto  -9.7   -9.7   -9.7   -9.7  Attenuator auto reset

                          23.0   17.5   14.5   24.0  Attenuator settings (dB)
         14:50     2      -9.7   -0.2   -9.7   -0.1  X-Band to ambient load
         14:52     3      -0.9   -0.2   -9.7   -0.1  S-LCP to ambient load
         14:53     4      -0.9   -0.2   -0.7   -0.0  S-RCP to ambient load
         14:54  att auto  -8.0   -9.7  -10.0   -5.2  Attenuator auto reset

                          31.5   29.5   25.5   31.5  Attenuator settings (dB)

                                                     Ambient load phys temps:

                                                      S1=20.24 C

                                                      S2=22.62 C

                                                      X1=17.00 C

                                                     Local weather:

                                                      T=18.1C

                                                      H=31.3 percent

                                                      sky=clear
         14:55  rec 3 e                              Begin 25 kHz recording

         14:57     5      -8.0  -10.0  -10.0   -5.3  ADC voltage levels (dB)
         15:05     6      -7.9  -10.0  -10.0   -5.0  X-RCP noise diode ON
         15:10     7      -8.0  -21.9   -9.9  -15.7  X-Band to sky
         15:15     8      -7.9  -21.8   -9.9  -17.3  X-RCP noise diode OFF
         15:20     9      -8.0  -19.5   -9.9  -17.4  X-LCP noise diode ON;

                                                     Confirm 12.5K ND
         15:25    10      -8.0    9.7  -10.0   -5.2  X-Band to ambient load;

                                                     Ambient load phys temps:

                                                      S1=20.75 C

                                                      S2=22.88 C

                                                      X1=16.69 C
         15:30    11      -8.0   -9.9   -9.9   -5.3  X-LCP noise diode OFF
         15:35    12      -8.0  -21.7  -10.0  -17.5  X-Band to sky
         15:40    13      -8.0  -21.7   -9.8  -17.5  S-RCP noise diode ON
         15:45    14      -7.9  -21.7  -19.0  -17.4  S-RCP to sky
         15:50    15      -8.0  -21.8  -20.8  -17.5  S-RCP noise diode OFF;

                                                      Confirm 12.5K ND
         15:55    16      -7.8  -21.7  -20.8  -17.5  S-LCP noise diode ON
         16:00    17     -16.5  -21.7  -20.9  -17.4  S-LCP to sky
         16:05    18     -18.3  -21.7  -20.8  -17.3  S-LCP noise diode OFFl

                                                     Confirm 12.5K 
                                                     Ambient load phys temps:

                                                      S1=21.00 C

                                                      S2=23.12 C

                                                      X1=16.56 C
End      16:10   end     -18.3  -21.7  -20.8  -17.3  Stop 25 kHz recording
         16:14                                       DSS 63 on point

BOT      16:31           -17.7  -20.3  -20.0  -12.0  S/X-Band AOS

         16:42                                       X-Band TLM OFF

         16:43                                   70  X-RCP FGAIN reset (dB)

         16:48  rec 3 e                              Resume 25 kHz recording

         17:00           -17.9  -20.7  -20.3  -12.3  DSS 63 to Mars pointing 
                                                      predicts
                                                 65  Reset X-RCP FGAIN (dB)
         17:03 sfro 3/XS    2k    29k     2k    29k  25 kHz rcvr offset (Hz)
               sfro 4/X           10k           10k  100 kHz offset (Hz) 

MiniCal1 17:05     1     -17.9  -20.8  -20.3  -11.6  XR ND ON;

                                                     Confirm 12.5K ND
         17:08     2     -17.9  -20.8  -18.8  -12.3  XR ND OFF; SR ND ON
         17:11     3     -17.8  -19.0  -20.3  -12.1  SR ND OFF; XL ND ON
         17:14     4     -16.1  -20.9  -20.3  -12.3  XL ND OFF; SL ND ON
         17:17     5     -18.0  -20.8  -20.4  -12.2  SL ND OFF
         17:20   end     -18.0  -21.0  -20.4  -12.4  

BSR      17:25  rec 4 e                              Begin 100 kHz recording

         17:49  sfro 3/X          22k           22k  25 kHz rcvr offset (Hz)
         17:57  sfro 3/X          15k           15k  25 kHz rcvr offset (Hz)
         18:03  sfro 3/X           8k            8k  25 kHz rcvr offset (Hz)
         18:05  sfro 3/S   -4k           -4k         25 kHz rcvr offset (Hz)
         18:08  sfro 3/X           1k            1k  25 kHz rcvr offset (Hz)
         18:15  sfro 3/X          -6k           -6k  25 kHz rcvr offset (Hz)
         18:20  sfro 4/X         -25k          -25k  100 kHz rcvr offset (Hz)
         18:24  sfro 3/X         -13k          -13k  25 kHz rcvr offset (Hz)
         18:27  sfro 3/S  -10k          -10k         25 kHz rcvr offset (Hz)

         18:29  sfro 3/X         -20k          -20k  25 kHz rcvr offset (Hz)
         18:31  sfro 3/X         -27k          -27k  25 kHz rcvr offset (Hz)
         18:34  sfro 3/X         -34k          -34k  25 kHz rcvr offset (Hz)
         18:35  sfro 3/S  -15k          -15k         25 kHz rcvr offset (Hz)
         18:36  sfro 3/X         -41k          -41k  25 kHz rcvr offset (Hz) 

         18:39  sfro 3/X         -48k          -48k  25 kHz rcvr offset (Hz) 

         18:41  sfro 3/S  -19k          -19k         25 kHz rcvr offset (Hz) 

         18:42  sfro 3/X         -55k          -55k  25 kHz rcvr offset (Hz)
         18:45  sfro 3/X         -60k          -60k  25 kHz rcvr offset (Hz)
end BSR  18:47  sfro 3/S  -60k          -60k         25 kHz rcvr offset (Hz)
                rec 4 d  -18.3  -21.2  -20.6  -12.1  End 100 kHz recording

MiniCal2 18:48     1     -18.2  -21.2  -20.7  -11.5  XR ND ON

                                                     Confirm 12.5K ND 
         18:51     2     -18.1  -21.2  -18.9  -12.1  XR ND OFF; SR ND ON
         18:54     3     -18.2  -19.3  -20.5  -12.0  SR ND OFF; XL ND ON
         18:57     4     -16.2  -21.2  -20.6  -12.1  XL ND OFF; SL ND ON
         19:00     5     -18.3  -21.2  -20.7  -11.7  SL ND OFF
         19:03    end    -18.2  -21.1  -20.7  -11.7  DSS 63 return to s/c

                                                      pointing predicts

         19:04  sfro 3/XS    0      0      0      0  25 kHz rcvr offset (Hz)

                                                 70  X-RCP FGAIN reset (dB)
EOT      19:12           -18.3  -21.3  -20.8  -11.7

                                              -17.4  DSS 63 to zenith

                                                 65  X-RCP FGAIN reset (dB)

PostCal  19:17     1      -8.0   -9.9  -10.1   -5.2  All to AMB

                                                     Ambient load phys temps:

                                                      S1=21.38 C

                                                      S2=22.38 C

                                                      X1=16.88 C
         19:22     2      -7.9   -9.8  -10.0   -5.0  XR ND ON
         19:25     3      -8.0   -9.8   -9.8   -5.3  XR ND OFF; SR ND ON
         19:28     4      -7.9   -9.5  -10.0   -5.2  SR ND OFF; XL ND ON
         19:31     5      -7.6   -9.9  -10.0   -5.2  XL ND OFF; SL ND ON
         19:34     6     -16.3  -21.7  -20.8  -17.4  All to sky
         19:37     7     -18.3  -19.4  -20.9  -17.4  SL ND OFF; XL ND ON
         19:40     8     -18.3  -21.7  -19.0  -17.5  XL ND OFF; SR ND ON
         19:43     9     -18.4  -21.8  -20.8  -15.7  SR ND OFF; XR ND ON
         19:46    10     -18.3  -21.8  -20.8  -17.5  XR ND OFF

                                                     Ambient load phys temps:

                                                      S1=21.12 C

                                                      S2=22.12 C

                                                      X1=16.88 C

                                                     Local weather
                                                      T=13.6C

                                                      H=49.5 percent

                                                      sky=clear

EOA      19:50  end/rec 3 d                          End 25 kHz recording

AMB = ambient load

BOT = Beginning of Track
BW = bandwidth

C = Celsius
CNR = Carrier to noise ratio

CONSCAN = conical scan tracking

CW = continuous wave (carrier only)

EOA = End of activity

EOT = End of Track

FRO = frequency offset

HGA = high-gain antenna
k = kilo, thousand

K = Kelvin
LOS = loss of signal

ND = noise diode

No = noise power

NOP = Network Operations Plan
occn = occultation
Pc = carrier power

rcvr = receiver

S1 = ambient load for S-RCP

S2 = ambient load for S-LCP

s/c = spacecraft

SKY = receiver looking a sky

SL = S-LCP

SNR = Signal to noise ratio

SR = S-RCP

TLM = telemetry

X1 = Ambient load for both X-band channels

XL = X-LCP

XR = X-RCP

Post Analysis Summary

     There is a range of echo strengths – strong at the beginning near the equator and near the Brewster angle; weaker as the specular point moves south (and incidence angle exceeds 70 deg; strongest at incidence angles 80-85 deg (except S-LCP), and finally very broad (and hard to find) as the specular point crosses the equator heading north after periapsis.

     Throughout, the echo strength behaves as one might expect; the general trends in all four channels are similar.  When one channel goes up or down, the others follow.  X-Band echo strengths are larger than S-Band echo strengths.  And RCP is usually higher than LCP except during the first 10 minutes (when incidence angle was 60-63 deg) and the last 10 minutes (when incidence angle was 66-55 deg). 

     S-Band dielectric constant is higher than X-Band dielectric constant during the first half of the experiment (until maximum southern latitude (58.7S, 167.4E); they both start in the 3.5-4.0 range, then drop to about 2.0).  During the next 15 minutes X-Band dielectric constant rises to almost 7 while S-Band rises to almost 4; then both drop to about 2.  Over the final 15 minutes X-Band rises to almost 6 again; S-Band may do the same, but the data are too noisy to draw strong conclusions.  In fact, it’s hard to see the S-Band echo in either polarization during the final 15 minutes.  It would be fair to say that the data are consistent with comparable dielectric constants at S- and X-Band during this time and that they range over 2-6.

     The X-RCP noise power density estimate (from the fixed noise window) has an increase of 2-3 percent increase over about 18:24-18:32, apparently because the X-RCP echo is spilling into the noise window.  S-LCP noise power density wanders more than the others (+/-1 percent); but all seem to be good enough for the processing attempted here.

     An alarming result is that the S-Band noise is highly polarized.  Except over frequencies where the echo is found, the average S-Band cross spectrum phase is about -1 radian with not a lot of variation.  The data were processed through FNDLOOK with an unusually large MAXIMUM value (10000.); but reducing the parameter to a value more in line with the actual power per bin (100.) had no effect.  The two S-Band channels show very different echo behaviors.  Data from other experiments in 2012, including two at DSS 63, do not show this noise correlation.  In fact, the noise power densities for S-RCP and S-LCP are very similar on this date -- much closer than they usually are.  The cause for this anomaly is not known.
                                                                 Dick Simpson

                                                         Original: 2012-04-09

                                      Post Analysis Summary added: 2013-06-06

                                      Post Analysis Summary edits: 2013-06-26

