Interpretation and Use of Binary RSR Data

This document describes and illustrates extraction of values from binary files generated according to the Radio Science Receiver (RSR) Software Interface Specification (SIS):

[1] Deep Space Mission System (DSMS) External Interface Specification 820-013 (D-16765), 0159-SCIENCE, Radio Science Receiver Standard Format Data Unit (SFDU)

which was released in 2001.  Three updates have been released since 2001:

[2] The original document [1] with addition of header parameters schan, fgain, and mult, released in 2004.

[3] Document [2] with editorial improvements, released in 2008.

[4] An 'adaptation', based on document [3], which describes a non-standard RSR format delivered from the Mars Reconnaissance Orbiter mission to the NASA Planetary Data System, released in 2009.

When the RSR was replaced by the Open Loop Receiver (OLR) in 2019, one of the OLR output formats was designed to be compliant with [3]; so the RSR SIS remains useful even though the RSR hardware and software are no longer available.

For most users, any of the first three versions should be sufficient.  Document [4] should be used only for data generated by an RSR in 'MRO' mode (see below).

Record Format:

Each RSR file comprises one or more records of fixed length.  Record length depends on sampling rate and sample resolution; but all records within a file have the same record length, sample rate, and sample resolution.  Each record includes a 260-byte header followed by  n*1000  complex samples, each with an in-phase (I) and quadrature (Q) component.  The header contains dozens of parameters in integer, floating point, and character formats occupying fields with 8, 16, 32, or 64 bits.  The I and Q samples are binary integers each with 1, 2, 4, 8, or 16 bits.  All header and data values are stored in most significant byte first (MSB, or big-endian) order.

Example Data:

Three examples of RSR data are used in this document.  Each is a file, truncated to the first three records, from a Mars Express radio science observation with 16-bit I and 16-bit Q sample resolution:

| Start Date/Time (UTC) | File Name | Band/Poln | Obsn Type | DSS | Sample Rate (sps) | Record Length (bytes) | Mode |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2005-12-02T21:40:00 | 5336021a.rsr | X-RCP | Occn | 65 | 2000 | 8260 | Nominal |
| 2010-06-06T14:22:00 | a157142c.rsr | X-LCP | BSR | 63 | 25000 | 25260 | WVSR |
| 2018-03-11T17:27:01 | i070174a.rsr | X-RCP | Occn | 43 | 2000 | 8260 | MRO |

Hexadecimal dumps of the first 704 bytes of each file are shown in Tables 1a, 2a, and 3a below.  Yellow highlighting indicates the boundary between the header and data parts of the record.  Full extraction of the header information is shown in Tables 1b, 2b, and 3b; and conversion of the first four I/Q pairs in each file is shown in Tables 1c, 2c, and 3c.

Nominal RSR Storage Format (5336021a.rsr):

Table 1a shows the hexadecimal content of the first 704 bytes from an RSR file created in 2005.  The appropriate SIS reference would be [3], since it includes updates to the record content as well as editorial improvements.  The first four bytes in the record are hexadecimal   "4e 4a 50 4c"   (highlighted in green), which are interpreted as the SFDU Label Control Authority "NJPL".   Byte 00000558 gives the RSR ID (4 in both hexadecimal and decimal), byte 00001058 gives the number of bits in each sample as "10" (hexadecimal) or "16" (decimal), bytes 00001078 and 00001108 give the sampling rate (2 ksps), and bytes 00004058 through 00004248 contain the first four I/Q pairs (also highlighted in green).  From Table 3-1 in [3], we can confirm that the sample size (16) and the sampling rate (2) yield a record size of 8000 data bytes plus 260 header bytes.

Following document [3] Table 3-2 we can extract the first four 16-bit I/Q pairs from Table 1a and convert them as shown in Table 1c.  The Q value precedes the I value in storage, as shown in the two left columns in Table 1c.  The middle two columns in Table 1c give the equivalent decimal values; no 2's complement correction is needed since all of the raw values are positive.  Because of a truncation procedure during data acquisition, described in the paragraph before document [3] Table 3-2, a bias transformation takes the 2's complement values (k) to their final values  2*k+1,  shown in the right two columns.

WVSR Storage Format:

When the number of RSRs at a DSN complex was insufficient to handle the channels required for a radio science observation, WVSRs could be substituted.  The WVSR is normally used for VLBI; but the RSR and WVSR architectures are the same, and WVSR data records may be edited after storage to mimic the RSR format described in [3].  In these cases, the Minor Data Class in the header is set to 5 (rather than the usual 4), and a number larger than 6 is used for RSR ID.  In Table 2b, the RSR ID (byte 00000558 in Table 2a) is 11.  In practical terms, WVSR data which follow the specification in [3] are indistinguishable from RSR data.

MRO Mode (i070174a.rsr):

Many ingress radio occultation observations are conducted in two-way mode; the spacecraft receiver is locked to the uplink from the DSN station as the ray path descends through the atmosphere, and the signal is eventually extinguished at occultation.  When the downlink signal is captured by the receiving DSN station, its frequency is compared against a predicted value and a 'residual' frequency is recorded.  The uplink signal is ramped; that is, its frequency is a first order linear function of time:

f(t) = f0j + f1j*(t-tj)	tj ≤ t ≤ tj+1

where  f0j  and  f1j  are constant over each time interval  [tj, tj+1],  f(t)  is continuous at every interval boundary, and intervals must begin and end on integer seconds at the transmitting station.

The RSR operates in a similar fashion except that a higher order polynomial may be used.  In the nominal mode, the RSR intervals must begin and end on integer seconds.  Because the round-trip light time to the spacecraft is not an integer number of seconds, break-points in the uplink signal frequency profile that have been echoed by the spacecraft transponder will arrive at the receiving DSN station between break points in the RSR tuning profile and anomalously large frequency residuals will be recorded until synchronization is restored at the next RSR integer second.  The MRO mission objected to having these anomalous frequency residuals in the data record.

Operation of the RSR was modified so that its frequency tuning profile could have break points at millisecond resolution; this did not make the synchronization error go away, but it made the anomalous residuals much smaller.  Document [4] describes how the RSR tuning was modified.  Coefficients for the RSR tuning stored in bytes 129 through 240 of each record header are not valid in MRO mode; in fact, 'NaN' can be found in several places in the latter half of Table 3b.  Instead, the tuning information is included in a separate Downlink Frequency (DLF) file.  An Everett polynomial is used to convert the DLF coefficients into an expected frequency profile, which is used to drive the RSR tuning and which should be used when analyzing the data after collection.  Tables 3a, 3b, and 3c are example hexadecimal dump, header extraction, and data sample conversion for RSR data collected in MRO mode.

Document [4] should be used only with RSR files collected in MRO mode.  Note, however, that MRO mode was used occasionally for collecting data from other missions (for example, MAVEN and Cassini).  An easy way to identify MRO mode is by the 'NaN' header values.

Associated Files:

| RSR Binary File | HEX Dump | Data Sample Conversion | Downlink Frequency File | DLF PDS3 Label |
| --- | --- | --- | --- | --- |
| 5336021a.rsr | 5336021a.hex | 5336021a.tab | N/A | N/A |
| a157142c.rsr | a157142c.hex | a157142c.tab | N/A | N/A |
| i070172a.rsr | i070172a.hex | i070172a.tab | i070135a.dlf | i070135a.lbl |

Table 1a — Hexadecimal Dump of Record 1 (partial)

Mars Express RSR File (5336021a.rsr)

Created on 2005-12-02T21:40:00

Byte No.                           Byte Values

(octal)                           (hexadecimal)

0000000    4e  4a  50  4c  32  49  30  30  43  39  39  37  00  00  00  00

0000020    00  00  20  30  00  01  00  e8  00  02  00  04  15  04  18  00

0000040    00  68  00  dc  30  30  0a  ad  00  3b  3c  41  04  01  00  29

0000060    03  93  58  58  02  ff  40  6e  00  2f  1c  77  07  d5  01  50

0000100    00  00  1e  68  10  00  00  02  01  40  1f  a4  07  d5  01  50

0000120    40  be  78  00  00  00  00  00  00  00  00  00  00  00  00  00

0000140    00  00  00  00  00  00  00  00  00  00  00  00  00  00  00  00

*

0000200    41  ff  5e  0b  f4  9d  8e  c7  41  ff  5e  0b  f5  13  81  32

0000220    41  ff  5e  0b  f5  89  76  47  c0  fb  e4  9d  8e  c7  00  00

0000240    c0  fb  e5  13  81  32  00  00  c0  fb  e5  89  76  47  00  00

0000260    c0  fb  e4  9d  8e  c7  00  00  c0  2d  7c  45  80  00  00  00

0000300    bf  55  50  00  00  00  00  00  c1  ac  33  95  a0  00  00  00

0000320    bf  e8  64  96  55  5e  00  00  c0  fb  e4  9d  8e  c7  00  00

0000340    c0  1d  7c  45  80  00  00  00  bf  3c  6a  aa  aa  aa  aa  ab

0000360    3f  80  00  00  00  00  00  00  00  00  00  00  00  00  00  00

0000400    00  0a  1f  40  ---------------data part below----------------

----header part above----  2a  ea  14  5d  2b  c7  11  6b  2a  81  10  e7

0000420    29  5b  10  39  2c  7d  0f  7b  2e  08  0e  9d  2c  9a  0c  7c

0000440    2c  9d  0d  d3  2c  a5  0b  08  2c  d0  09  d2  2c  4b  08  93

0000460    2e  d8  08  65  2f  e4  05  8b  2b  aa  02  0a  2b  e3  06  51

0000500    2c  e6  03  92  2d  e8  01  82  2e  c4  02  c4  2d  18  fd  85

0000520    2d  6e  fc  22  2c  ad  fa  42  2e  9c  f7  cc  29  b4  f9  5b

0000540    2b  1e  f7  6f  2f  77  f6  c2  2b  40  f5  da  2d  46  f6  c1

0000560    2b  a0  f2  97  2c  64  f0  10  2b  ac  f1  ba  29  d2  f0  aa

0000600    2b  60  ee  a0  27  78  eb  fa  28  0b  ec  66  2b  06  ec  57

0000620    29  89  e9  7f  27  e9  ea  f7  29  97  ec  f6  29  1b  e7  49

0000640    25  db  e7  cb  25  9a  e7  53  24  d3  e4  cc  23  cb  e3  d3

0000660    22  30  e3  5a  24  25  e2  fd  23  c7  df  1b  20  69  e1  43

0000700    23  40  e1  15  1f  79  e0  3a  1c  cf  df  c9  1f  eb  dc  e0

0000720    1e  92  dc  f1  1b  d4  da  aa  1b  d7  d8  c8  1a  86  d8  23

0000740    17  1e  d9  32  19  09  d8  0f  1a  5e  d7  33  15  44  d7  52

0000760    11  76  d8  86  12  6e  d8  62  14  45  d3  93  13  17  d6  50

0001000    10  81  d6  e0  0e  ec  d2  3c  0e  03  d2  30  0b  4a  d4  4a

0001020    0d  3b  d5  3a  0d  ce  d2  b0  09  c3  d1  ae  09  69  d2  6a

0001040    07  da  d2  54  06  ae  d2  fb  03  2b  d2  ee  02  c2  d1  1d

0001060    01  60  d1  9c  00  02  d1  5a  03  18  d1  3f  fe  fe  d4  93

0001100    fd  6e  d0  80  fd  ae  d0  4c  fa  1d  d2  ea  fd  16  d1  86

0001120    f9  56  d4  bd  f4  d1  d3  58  f7  a8  d2  65  f6  e8  d5  91

0001140    f3  76  d2  a5  f4  1f  d2  74  f5  cc  d3  a5  f2  39  d4  0b

0001160    f1  6a  d5  8f  f0  cf  d4  30  ec  4d  d5  64  ec  09  d5  bd

0001200    eb  bd  d7  3a  e9  aa  d9  46  e8  53  d8  80  e8  1c  d7  64

0001220    e6  ad  d9  10  e4  8a  db  39  e6  28  d9  96  e6  49  da  c4

0001240    e5  96  dc  9a  e4  42  da  bf  e2  38  dc  97  df  b6  de  36

0001260    e0  79  dc  ce  e0  f6  de  eb  de  64  e0  94  dc  eb  e1  64

Table 1b — Extraction of Header Values from Record 1

Mars Express RSR File (5336021a.rsr)

Created on 2005-12-02T21:40:00

RSRHPR2 -- Input File:         5336021a.rsr

Record Number:             1   of      1141

Program version:                 2019-10-22

Today is:          Fri Feb 21 15:34:32 2020

--------------------

SFDU Label:

Control Authority        =   NJPL

Version ID               =      2

Class ID                 =      I

SFDU Reserved            =     00

Data Desc ID             =   C997

SFDU Value Length High   =      0

SFDU Value Length Low    =   8240

Header Aggregation CHDO Label:

Type Attribute           =      1

Length Attribute         =    232

Primary Header CHDO:

Type Attribute           =      2

Length Attribute         =      4

Major Data Class         =     21

Minor Data Class         =      4

Mission ID               =     24 (Unexpected value)

Format Code              =      0

Secondary Header CHDO:

Type Attribute           =    104

Length Attribute         =    220

Originator ID            =     48

Last Modifier ID         =     48

RSR Software ID          =   2733

Record Sequence Number   =     59

SPC ID                   =     60

DSS ID                   =     65

RSR ID                   =      4

SCHAN ID                 =      1

Reserved                 =      0

Spacecraft               =     41

Predicts Pass Number     =    915

Uplink Band              =      X

Downlink Band            =      X

Tracking Mode            =      2

Uplink DSS ID            =    255

FGAIN Px/No (dB-Hz)      =     64

FGAIN IF BW (MHz)        =    110

Freq Pred Overide Flag   =      0

DIG Attenuation (0.5 dB) =     47

DIG ADC RMS              =     28

DIG ADC Peak Amplitude   =    119

ADC Year                 =   2005

ADC Day of Year          =    336

ADC Seconds              =   7784

Bits per Sample          =     16

Data Error Count         =      0

Sample Rate (ksps)       =      2

DDC LO (MHz)             =    320

RF to IF LO (MHz)        =   8100

SFDU Year                =   2005

SFDU Day of Year         =    336

SFDU Seconds             =  7.8000000000000000E+03

Pred Time Shift (sec)    =  0.0000000000000000E+00

Pred Freq Override (Hz)  =  0.0000000000000000E+00

Pred Freq Rate (Hz/s)    =  0.0000000000000000E+00

Pred Freq Offset (Hz)    =  0.0000000000000000E+00

SubChan Freq Offset (Hz) =  0.0000000000000000E+00

RF Freq Point 1          =  8.4201142498473577E+09

RF Freq Point 2          =  8.4201142572190418E+09

RF Freq Point 3          =  8.4201142645913763E+09

SC Freq Point 1          = -1.1424984735774994E+05

SC Freq Point 2          = -1.1425721904182434E+05

SC Freq Point 3          = -1.1426459137630463E+05

SC F Poly Coef 1         = -1.1424984735774994E+05

SC F Poly Coef 2         = -1.4742717742919922E+01

SC F Poly Coef 3         = -1.3008117675781250E-03

SC Accum Phase           = -2.3657134400000000E+08

SC P Poly Coef 1         = -7.6227871583250817E-01

SC P Poly Coef 2         = -1.1424984735774994E+05

SC P Poly Coef 3         = -7.3713588714599609E+00

SC P Poly Coef 4         = -4.3360392252604168E-04

Table 1c — Extraction of Data Values from Record 1

Mars Express RSR File (5336021a.rsr)

Created on 2005-12-02T21:40:00

| Q1 (hex) | I1 (hex) | Q1 (decimal) | I1 (decimal) | Q1 (after corrections) | I1 (after corrections) |
| --- | --- | --- | --- | --- | --- |
| 2aea | 145d | 10986 | 5213 | 21973 | 10427 |
| 2bc7 | 116b | 11207 | 4454 | 22415 | 8919 |
| 2381 | 10e7 | 10881 | 4327 | 21763 | 8655 |
| 295b | 1039 | 10587 | 4153 | 21175 | 8307 |
| ... | ... | ... | ... | ... | ... |

Table 2a — Hexadecimal Dump of Record 1 (partial)

Mars Express RSR File (a157142c.rsr)

Created on 2010-06-06T14:22:00

Byte No.                           Byte Values

(octal)                           (hexadecimal)

0000000    4e  4a  50  4c  32  49  00  00  43  39  39  37  00  00  00  00

0000020    00  00  62  98  00  01  00  e8  00  02  00  04  15  05  ff  00

0000040    00  68  00  dc  7b  7b  00  64  00  00  3c  3f  0b  04  00  29

0000060    00  9d  58  58  01  00  00  00  00  00  00  00  00  00  00  00

0000100    00  00  00  00  10  00  00  19  01  40  1f  a4  07  da  00  9d

0000120    40  e9  41  00  00  00  00  00  00  00  00  00  00  00  00  00

0000140    00  00  00  00  00  00  00  00  00  00  00  00  00  00  00  00

*

0000260    c0  da  33  8b  df  d8  00  00  40  11  e9  32  00  00  00  00

0000300    bf  0c  00  00  00  00  00  00  00  00  00  00  00  00  00  00

0000320    bf  e8  ee  df  55  59  80  00  c0  da  33  8b  df  d8  00  00

0000340    40  01  e9  32  00  00  00  00  be  f2  aa  aa  aa  aa  aa  ab

0000360    00  00  00  00  00  00  00  00  00  00  00  00  00  00  00  00

0000400    00  0a  61  a8  ----------------data part below---------------

----header part above----  07  4c  fe  b9  06  b0  01  59  04  1f  06  bb

0000420    fc  2c  04  a5  f9  bc  fd  cd  fe  d0  f9  d6  01  ab  f7  4a

0000440    03  b9  f8  7d  06  42  01  c3  01  a8  0a  d5  fc  b1  09  d8

0000460    fb  bc  ff  a5  fa  1e  fd  6d  fc  78  03  64  00  38  fd  e7

0000500    04  02  fb  1a  04  15  02  81  05  70  03  85  fe  21  02  23

0000520    fb  44  00  a4  ff  46  00  48  01  4a  fb  ae  00  4a  f8  a0

0000540    03  dd  fe  c7  0a  7d  00  3c  fe  81  03  c4  fa  b7  02  f4

0000560    fd  4c  ff  43  fa  72  fd  66  02  fc  f9  c9  04  b4  f9  a5

0000600    01  18  00  23  03  08  04  c1  ff  6a  04  70  fd  2b  01  f2

0000620    fa  04  fb  44  fd  a2  fb  4e  05  5d  fc  26  02  bb  fe  88

0000640    05  1f  00  2f  03  75  06  54  fd  ec  08  aa  fa  7a  01  e5

0000660    fa  09  fd  c9  ff  b4  fb  51  ff  1f  fa  fb  05  58  fd  fc

0000700    04  fb  03  6b  fa  98  04  58  fb  56  05  3d  fe  f0  ff  9a

0000720    ff  9f  fb  2e  fc  5f  f6  64  00  b0  f8  48  01  57  01  98

0000740    ff  30  00  73  00  f8  05  b3  fc  e1  08  32  fb  7c  00  34

0000760    fc  c9  fe  2a  00  15  fb  43  04  bd  f9  18  06  f0  fe  53

0001000    04  e0  02  8f  ff  b1  05  9d  fd  8a  00  bb  f9  f4  fd  b1

0001020    fc  ec  ff  05  01  95  ff  c3  ff  de  01  2b  02  1f  ff  21

0001040    01  06  05  74  fc  7d  02  a4  fb  7a  fa  c9  00  1a  fb  39

0001060    02  70  f9  2d  06  3b  fa  c6  06  a4  00  34  01  31  03  eb

0001100    01  42  04  7a  fd  2c  01  b0  fa  71  ff  82  fd  70  fd  52

0001120    01  0a  ff  85  04  b3  02  ab  07  45  fd  ce  03  dd  02  7c

0001140    fe  84  09  2d  00  60  03  f2  fe  6a  fd  84  fd  0f  fc  9b

0001160    05  4b  fc  52  05  89  fb  74  05  46  00  e9  01  0b  08  16

0001200    fa  c6  03  d0  fd  c8  00  29  f9  39  00  53  fd  30  fd  2d

0001220    04  44  fb  84  02  e0  fd  1b  00  82  06  ee  fe  47  03  e6

0001240    fc  37  04  80  fb  45  01  97  fd  cd  f2  8e  00  66  fc  9a

0001260    04  e1  fa  4d  04  0c  fe  95  00  14  09  5f  ff  f0  01  7b

Table 2b — Extraction of Header Values from Record 1

Mars Express RSR File (a157142c.rsr)

Created on 2010-06-06T14:22:00

RSRHPR2 -- Input File:         a157142c.rsr

Record Number:             1   of     10084

Program version:                 2019-10-22

Today is:          Fri Feb 21 15:34:49 2020

--------------------

SFDU Label:

Control Authority        =   NJPL

Version ID               =      2

Class ID                 =      I

SFDU Reserved            =  <NULL> (Unexpected value)

Data Desc ID             =   C997

SFDU Value Length High   =      0

SFDU Value Length Low    =  25240

Header Aggregation CHDO Label:

Type Attribute           =      1

Length Attribute         =    232

Primary Header CHDO:

Type Attribute           =      2

Length Attribute         =      4

Major Data Class         =     21

Minor Data Class         =      5 (source is not RSR)

Mission ID               =    255

Format Code              =      0

Secondary Header CHDO:

Type Attribute           =    104

Length Attribute         =    220

Originator ID            =    123 (Unexpected value)

Last Modifier ID         =    123 (PRRSG Group for VSR)

RSR Software ID          =    100

Record Sequence Number   =      0

SPC ID                   =     60

DSS ID                   =     63

RSR ID                   =     11

SCHAN ID                 =      4

Reserved                 =      0

Spacecraft               =     41

Predicts Pass Number     =    157

Uplink Band              =      X

Downlink Band            =      X

Tracking Mode            =      1

Uplink DSS ID            =      0

FGAIN Px/No (dB-Hz)      =      0

FGAIN IF BW (MHz)        =      0

Freq Pred Overide Flag   =      0

DIG Attenuation (0.5 dB) =      0

DIG ADC RMS              =      0

DIG ADC Peak Amplitude   =      0

ADC Year                 =      0

ADC Day of Year          =      0

ADC Seconds              =      0

Bits per Sample          =     16

Data Error Count         =      0

Sample Rate (ksps)       =     25

DDC LO (MHz)             =    320

RF to IF LO (MHz)        =   8100

SFDU Year                =   2010

SFDU Day of Year         =    157

SFDU Seconds             =  5.1720000000000000E+04

Pred Time Shift (sec)    =  0.0000000000000000E+00

Pred Freq Override (Hz)  =  0.0000000000000000E+00

Pred Freq Rate (Hz/s)    =  0.0000000000000000E+00

Pred Freq Offset (Hz)    =  0.0000000000000000E+00

SubChan Freq Offset (Hz) =  0.0000000000000000E+00

RF Freq Point 1          =  0.0000000000000000E+00

RF Freq Point 2          =  0.0000000000000000E+00

RF Freq Point 3          =  0.0000000000000000E+00

SC Freq Point 1          =  0.0000000000000000E+00

SC Freq Point 2          =  0.0000000000000000E+00

SC Freq Point 3          =  0.0000000000000000E+00

SC F Poly Coef 1         = -2.6830185537338257E+04

SC F Poly Coef 2         =  4.4777297973632812E+00

SC F Poly Coef 3         = -5.3405761718750000E-05

SC Accum Phase           =  0.0000000000000000E+00

SC P Poly Coef 1         = -7.7915922803731519E-01

SC P Poly Coef 2         = -2.6830185537338257E+04

SC P Poly Coef 3         =  2.2388648986816406E+00

SC P Poly Coef 4         = -1.7801920572916668E-05

Table 2c — Extraction of Data Values from Record 1

Mars Express RSR File (a157142c.rsr)

Created on 2010-06-06T14:22:00

| Q1 (hex) | I1 (hex) | Q1 (decimal) | I1 (decimal) | Q1 (after corrections) | I1 (after corrections) |
| --- | --- | --- | --- | --- | --- |
| 074c | feb9 | 1868 | 65209 | 3737 | -653 |
| 06b0 | 0159 | 1712 | 345 | 3425 | 691 |
| 041f | 06bb | 1055 | 1723 | 2111 | 3447 |
| fc2c | 04a5 | 64556 | 1189 | -1959 | 2379 |
| ... | ... | ... | ... | ... | ... |

Table 3a — Hexadecimal Dump of Record 1 (partial)

Mars Express RSR File (i070174a.rsr)

Created on 2018-03-11T17:27:01

Byte No.                           Byte Values

(octal)                           (hexadecimal)

0000000    4e  4a  50  4c  32  49  30  30  43  39  39  37  00  00  00  00

0000020    00  00  20  30  00  01  00  e8  00  02  00  04  15  04  ff  00

0000040    00  68  00  dc  30  30  0a  ad  00  01  28  2b  04  01  00  29

0000060    00  46  58  58  02  ff  4b  6e  00  1a  1e  7b  07  e2  00  46

0000100    00  00  f5  4f  10  00  00  02  01  41  1f  a4  07  e2  00  46

0000120    40  ee  ac  a0  00  00  00  00  00  00  00  00  00  00  00  00

0000140    00  00  00  00  00  00  00  00  00  00  00  00  00  00  00  00

*

0000200    41  ff  5e  c4  e7  d8  8b  00  7f  ff  ff  ff  ff  ff  ff  ff

0000220    7f  ff  ff  ff  ff  ff  ff  ff  40  ff  4c  27  75  00  53  95

0000240    7f  ff  ff  ff  ff  ff  ff  ff  7f  ff  ff  ff  ff  ff  ff  ff

0000260    40  ff  4c  27  75  00  53  95  7f  ff  ff  ff  ff  ff  ff  ff

0000300    7f  ff  ff  ff  ff  ff  ff  ff  41  b6  8d  4e  9e  00  00  00

0000320    3f  78  95  50  82  00  00  00  7f  ff  ff  ff  ff  ff  ff  ff

0000340    7f  ff  ff  ff  ff  ff  ff  ff  7f  ff  ff  ff  ff  ff  ff  ff

0000360    3f  80  00  00  00  00  00  00  00  00  00  00  00  00  00  00

0000400    00  0a  1f  40  ----------------data part below---------------

-----header part above-----06  55  e9  35  06  6f  ea  5a  06  05  e9  3a

0000420    06  80  ea  38  07  44  ea  1d  08  77  e9  c0  07  82  eb  71

0000440    08  b9  ea  db  09  48  ea  ef  09  3d  eb  81  0a  5c  eb  64

0000460    0a  42  ec  62  0a  d5  ec  2e  0b  03  ec  c4  0c  55  ec  98

0000500    0c  1e  eb  8c  0b  df  ec  62  0b  e9  ec  67  0c  27  ed  33

0000520    0d  1a  ed  7f  0e  1e  ec  f3  0e  d8  ed  9a  0d  55  ed  fd

0000540    0e  49  ed  87  0e  5b  ee  1d  0e  dc  ef  0d  10  68  ef  aa

0000560    0f  25  ef  56  0f  2b  ef  1c  10  18  f0  1a  10  32  f0  54

0000600    10  6d  f0  6a  11  d6  f0  29  11  d7  f0  fd  11  0a  f2  24

0000620    11  35  f2  2a  11  f5  f2  c3  12  eb  f3  66  12  e5  f3  aa

0000640    13  27  f3  ad  13  84  f3  b6  13  b4  f4  9b  13  e0  f3  e6

0000660    13  4f  f4  29  13  b9  f5  9c  14  ed  f6  7d  14  b3  f8  31

0000700    14  8d  f7  ba  15  3a  f7  06  15  0f  f7  93  14  fc  f6  c6

0000720    15  bb  f7  43  16  26  f8  f4  15  86  f9  11  15  b7  f8  eb

0000740    16  4b  fa  c1  16  06  fa  f4  15  a9  fa  c1  16  4e  fb  76

0000760    16  83  fb  26  16  43  fc  73  16  78  fc  92  15  f1  fc  c0

0001000    16  91  fd  ee  16  f4  fd  7a  16  76  fd  78  17  41  fe  63

0001020    17  13  fe  8e  16  6e  fe  dc  16  c9  ff  2c  16  9e  ff  8c

0001040    16  f5  00  6d  16  bd  00  17  16  cd  01  31  16  da  03  34

0001060    16  3c  02  da  15  97  03  b4  15  e7  03  36  16  fb  03  a6

0001100    15  b3  04  5d  15  3d  03  5d  15  76  04  c0  15  6c  05  2a

0001120    16  57  05  a3  15  b4  06  38  14  fb  06  c6  15  4b  07  43

0001140    15  d6  07  9e  15  e6  07  8a  15  0b  08  1e  15  a8  08  8e

0001160    15  0d  08  8a  13  d4  09  ed  14  7f  0a  8a  14  67  0a  67

0001200    14  84  0a  76  15  11  0a  a4  14  51  0a  89  13  7d  0b  3f

0001220    13  b6  0a  f2  13  80  0b  b9  13  75  0c  9c  12  94  0c  1b

0001240    11  f1  0d  56  11  9d  0d  88  11  72  0d  b3  11  18  0e  61

0001260    10  35  0f  13  10  bd  0f  54  0f  b8  10  0c  0f  d6  10  75

Table 3b — Extraction of Header Values from Record 1

Mars Express RSR File (i070174a.rsr)

Created on 2018-03-11T17:27:01

RSRHPR2 -- Input File:         i070172a.rsr

Record Number:             1   of      2760

Program version:                 2019-10-22

Today is:          Fri Feb 21 16:22:04 2020

--------------------

SFDU Label:

Control Authority        =   NJPL

Version ID               =      2

Class ID                 =      I

SFDU Reserved            =     00

Data Desc ID             =   C997

SFDU Value Length High   =      0

SFDU Value Length Low    =   8240

Header Aggregation CHDO Label:

Type Attribute           =      1

Length Attribute         =    232

Primary Header CHDO:

Type Attribute           =      2

Length Attribute         =      4

Major Data Class         =     21

Minor Data Class         =      4

Mission ID               =    255

Format Code              =      0

Secondary Header CHDO:

Type Attribute           =    104

Length Attribute         =    220

Originator ID            =     48

Last Modifier ID         =     48

RSR Software ID          =   2733

Record Sequence Number   =      1

SPC ID                   =     40

DSS ID                   =     43

RSR ID                   =      4

SCHAN ID                 =      1

Reserved                 =      0

Spacecraft               =     41

Predicts Pass Number     =     70

Uplink Band              =      X

Downlink Band            =      X

Tracking Mode            =      2

Uplink DSS ID            =    255

FGAIN Px/No (dB-Hz)      =     75

FGAIN IF BW (MHz)        =    110

Freq Pred Overide Flag   =      0

DIG Attenuation (0.5 dB) =     26

DIG ADC RMS              =     30

DIG ADC Peak Amplitude   =    123

ADC Year                 =   2018

ADC Day of Year          =     70

ADC Seconds              =  62799

Bits per Sample          =     16

Data Error Count         =      0

Sample Rate (ksps)       =      2

DDC LO (MHz)             =    321

RF to IF LO (MHz)        =   8100

SFDU Year                =   2018

SFDU Day of Year         =     70

SFDU Seconds             =  6.2821000000000000E+04

Pred Time Shift (sec)    =  0.0000000000000000E+00

Pred Freq Override (Hz)  =  0.0000000000000000E+00

Pred Freq Rate (Hz/s)    =  0.0000000000000000E+00

Pred Freq Offset (Hz)    =  0.0000000000000000E+00

SubChan Freq Offset (Hz) =  0.0000000000000000E+00

RF Freq Point 1          =  8.4208718055339355E+09

RF Freq Point 2          =                     NaN

RF Freq Point 3          =                     NaN

SC Freq Point 1          =  1.2819446606476449E+05

SC Freq Point 2          =                     NaN

SC Freq Point 3          =                     NaN

SC F Poly Coef 1         =  1.2819446606476449E+05

SC F Poly Coef 2         =                     NaN

SC F Poly Coef 3         =                     NaN

SC Accum Phase           =  3.7835945400000000E+08

SC P Poly Coef 1         =  6.0017723881173879E-03

SC P Poly Coef 2         =                     NaN

SC P Poly Coef 3         =                     NaN

SC P Poly Coef 4         =                     NaN

Table 3c — Extraction of Data Values from Record 1

Mars Express RSR File (i070172a.rsr)

Created on 2018-03-11T17:27:01

| Q1 (hex) | I1 (hex) | Q1 (decimal) | I1 (decimal) | Q1 (after corrections) | I1 (after corrections) |
| --- | --- | --- | --- | --- | --- |
| e935 | 0655 | 59701 | 1621 | -11669 | 3243 |
| ea52 | 066f | 59994 | 1647 | -11083 | 3295 |
| e93a | 0605 | 59706 | 1541 | -11659 | 3083 |
| ea38 | 0680 | 59960 | 1664 | -11151 | 3329 |
| ... | ... | ... | ... | ... | ... |

# Footnotes

Truncated binary files (5336021a.rsr, a157142c.rsr, and i070174a.rsr) are associated with this document.

Observation types are radio occultation (Occn) and bistatic radar (BSR)

Hex dumps were created using the (unix) command    od -t x1 <filename>.  Complete hexadecimal dumps of the three truncated files are given in the associated files 533021a.hex, a157142c.hex, and i070174a.hex.

Fully converted I/Q pairs may be found in the associated files 533021a.tab, a157142c.tab, and i070174a.tab.

Note that for lower resolution samples (1, 2, 4, and 8 bit samples), multiple Q values will precede multiple I values (as shown in [3] Table 3-2) and that the time order of those multiple values is reversed.  The text preceding Table 3-2 is misleading in that it refers to LSB and MSB when referring to time order.  This document shows only 16-bit I/Q pairs, which is the most common radio science output choice.